Device specification
[template sheet]
Product/trade name	Name of the device here
Unique device identifier	For CE certified systems, ID number as referred to in Part C of Annex VI assigned by the manufacturer, for the EUDAMED database (https://health.ec.europa.eu/medical-devices-eudamed/udidevice-registration_en) / Otherwise a clear identification by means of product code, catalogue number etc.
Document version and revision date
Document authors and contact details
Document license
Project website
Document history

# General description of the device
High-level description of the main role of the device.
Example: This device generates stabilised DC voltages for use as a power supply module.

# Intended purpose
High-level description of the purpose of the device.
Example: This device is intended to be a sub-module of the in the OSI2 ONE scanner.
If this is a complete medical device, include patient population, medical conditions to be diagnosed, selection criteria, indications/contraindications.

# Intended users
List of the people who will be interacting with the device, with the skills required.
Examples: Trained MRI radiographers, lay persons, MRI system assembly chain...

# Warnings/cautions
List of warnings and cautions to be taken when using the assembled device. Note that warnings that are specific to assembling procedures should be mentioned in the assembly instructions.
Example: Dangerous voltages, capable of causing injury or death may be present in this cabinet. Do not attempt any service or repair activity without heeding the precautions and warnings presented in the package associated with this document. This unit must be transported and stored under the following conditions…

# Principles of operation
How to operate the device once it is constructed. This may be a high-level description, for a complete how-to guide you may create a dedicated user manual included in /doc.

# Technical specifications
This contains the target specifications for all the relevant physical descriptions of the device: dimensions, weight, voltage… It should also provides details for each existing variant.
For simple devices the technical specifications may be added here. Otherwise a dedicated data sheet document should be produced in the /doc folder.

# Accessories
Description of the accessories and all other products that are intended to be used in combination with the device.

---------------------------------------------For medical devices -------------------------------------------
# Device qualification/classification
## Qualification of the product
Class I (low risk), Class IIa (medium risk), Class IIb (medium to high risk), and Class III (high risk)
## Rationale
Check the Medical Devices Regulation (MDR) 2017/745 document to explain the classification criteria you have assessed.

# Configurations
Complete list of the various configurations/variants of the device that are intended to be made available on the market, if any.

# Description of the raw materials
List of materials incorporated into key functional elements. Materials making either direct contact with the human body or indirect contact with the body

# Device history
Produce an overview of the previous generations of the device produced by the manufacturer, as well as an overview of identified similar devices available in the EU or international markets, where such devices exist. This is likely to be large and may therefore be a separate document in /doc.