Device specification
[template sheet]
# Product/trade name
Name of the device here

# Unique device identifier
For CE certified systems, ID number as referred to in Part C of Annex VI assigned by the manufacturer, for the EUDAMED database (https://health.ec.europa.eu/medical-devices-eudamed/udidevice-registration_en)
Otherwise a clear identification by means of product code, catalogue number etc.

# General description of the device
Example: This device generates stabilised DC voltages.

# Intended purpose
Example: This device is intended to be a sub-module of the in the OSI2 ONE scanner.
If this is a complete medical device, include patient population, medical conditions to be diagnosed, selection criteria, indications/contraindications.

# Intended users
Example: Radiographers, maintenance technicians...

# Warnings/cautions
Example: Dangerous voltages, capable of causing injury or death may be present in this cabinet. Do not attempt any service or repair activity without heeding the precautions and warnings presented in the package associated with this document.
This unit must be transported and stored under the following conditions…
Note that warnings that are specific to assembling procedures should be mentioned in the assembly instructions.

# Principles of operation
How to operate the device. This may be a complete how-to guide or is may be a high-level description, in which case a user manual should be included in /doc

# Technical specifications
For simple devices the technical specifications may be added here. Otherwise a dedicated data sheet document should be produced in the /doc folder. This contains all the physical descriptions of the device: dimensions, weight, voltage, performance attributes… It also contains the list of existing variants.

# Accessories
Description of the accessories and all other products that are intended to be used in combination with the device.

---------------------------------------------For medical devices -------------------------------------------
# Device qualification/classification
## Qualification of the product
Class I (low risk), Class IIa (medium risk), Class IIb (medium to high risk), and Class III (high risk)
## Rationale
Check the Medical Devices Regulation (MDR) 2017/745 document to explain the classification criteria you have assessed.

# Configurations
Complete list of the various configurations/variants of the device that are intended to be made available on the market, if any.

# Description of the raw materials
List of materials incorporated into key functional elements. Materials making either direct contact with the human body or indirect contact with the body

# Device history
Produce an overview of the previous generations of the device produced by the manufacturer, as well as an overview of identified similar devices available in the EU or international markets, where such devices exist. This is likely to be large and may therefore be a separate document in /doc.